ABSTRACT

Radiation monitoring and mapping play a crucial role in nuclear safety, environmental surveillance, and emergency response systems. This Summer Internship Report presents the research and development work carried out on the project "RADMAP – RADiation MAPing – GPS Enabled Radiation Mapping Prototype on Raspberry Pi-5 (3D Visualization)" at the Amity Institute of Nuclear Science & Technology (AINST). The primary objective of the project was to develop a portable and intelligent radiation mapping system capable of acquiring real-time radiation measurements along with geographical coordinates, environmental parameters, and advanced visualization for effective radiation monitoring and future source localization.

Throughout the 47-day internship, extensive research and development activities were performed in the areas of embedded systems, geospatial mapping, radiation detection, and data visualization. The work involved developing and preprocessing a radiation dataset, publishing the dataset on Kaggle, and utilizing it for generating interactive 2D radiation heatmaps. A real-time GPS acquisition module was developed using the GlobalSat BU-353N GPS Receiver to obtain latitude, longitude, UTC time, temperature, and humidity data, which were integrated with Raspberry Pi-5 for continuous environmental monitoring and data processing.

The project further involved the integration and validation of a CNSPEC Multi-Channel Analyzer (Gamma Spectrometer) using standard radioactive sources such as Cobalt-60 (Co-60) and Cesium (Cs-137). Radiation count rates, spectral peaks, and detector responses were successfully analyzed to generate dynamic radiation intensity maps. To overcome the limitation of conventional 2D heatmaps, research was conducted on 3D Digital Twin technology for radioactive source localization. A real-time visualization system was developed by synchronizing live camera feedback with GPS coordinates and radiation data, enabling a three-dimensional representation of the monitored environment.

In addition, a complete backend framework was designed to integrate sensor communication, GPS telemetry, radiation processing, and visualization modules into a unified system. A color grading algorithm, inspired by night-vision imaging technology, was implemented to represent varying radiation intensity levels using distinct color scales on the live camera feed, allowing intuitive identification of radiation hotspots. Furthermore, a 3D printable prototype model of the RADMAP system was designed to represent the final hardware architecture and facilitate future prototype development.

The successful implementation and validation of the RADMAP prototype demonstrated the feasibility of real-time GPS-enabled radiation mapping using embedded computing and intelligent visualization techniques. The project received appreciation and funding approval from Dr. Abhishek Yadav and Prof. (Dr.) Alpana Goel, Director of AINST, for further enhancement toward next-generation radiation mapping, autonomous source localization, and advanced Digital Twin technologies. This internship provided valuable practical experience in embedded systems, IoT, geospatial analytics, radiation instrumentation, and research-oriented software development, while contributing to innovative solutions for nuclear safety and environmental monitoring.